## Sheet
Total Energy - expertPower Plus - eXpertPower
Customer: | Cornell_CUP
Site: | Main
Location: | Bloomberg Center PV
Type: | PM180
Date:
Energy | Previous | Present | Usage | Estimated | Data source | Cost ($)
kWh Import | 52206 | 523658 | 471452 | X | Measured
Demand Data | Value | Date
kW Max DMD Import | 417.408
kVA Max DMD | 417.485
kW Max DMD Export | 0.699
Month | kWh Import | Cost ($) | kWh Import Estimated | kW Max DMD Import | kVA Max DMD | kW Max DMD Export | kWh Import Data source | Power Factor
1/1/2019 12:00:00 AM | 25890 |  | X | 281.22 | 281.267 | 0.699 | Measured
2/1/2019 12:00:00 AM | 34843 |  | X | 379.597 | 379.665 | 0.672 | Measured
3/1/2019 12:00:00 AM | 50607 |  | X | 411.595 | 411.667 | 0.642 | Measured
4/1/2019 12:00:00 AM | 59204 |  | X | 417.408 | 417.485 | 0.61 | Measured
5/1/2019 12:00:00 AM | 64467 |  | X | 415.937 | 416.018 | 0.675 | Measured
6/1/2019 12:00:00 AM | 69664 |  | X | 417.406 | 417.484 | 0.582 | Measured
7/1/2019 12:00:00 AM | 73792 |  | X | 402.47 | 402.545 | 0.65 | Measured
8/1/2019 12:00:00 AM | 68458 |  | X | 402.849 | 402.928 | 0.592 | Measured
9/1/2019 12:00:00 AM | 24527 |  | X |  |  |  | Measured